{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":46,"n_cols":9,"rows_kept":46,"cut":false,"hidden":false,"merged":[[15,2,15,3],[7,3,7,6],[9,3,9,4],[7,8,7,9]],"flags":["formulas_cached_only"]}
[]
[]
[]
[null,null,null,"         Radiation Protection Service"]
[]
[]
[]
[null,null,"Lab ",{"$nulls":4},"Date"]
[]
[null,null,"room no."]
[]
[]
["Enter reading (cpm) in green area then check for values exceeding action limits"]
["Enter x and y axis (cm) for area swabbed in grey boxes"]
[{"$nulls":5},"Activity","Contam."]
["Reading","Counts","Swab area",null,"Area","on swab","Activity",null,"Location"]
["No","per minute","x cm","y cm","swabbed cm2","(Bq)","Bq/cm2",">3 Bq/cm2"]
[1,null,10,10,100,0,0,"No"]
[2,null,10,10,100,0,0,"No"]
[3,null,10,10,100,0,0,"No"]
[4,null,10,10,100,0,0,"No"]
[5,null,10,10,100,0,0,"No"]
[6,null,10,10,100,0,0,"No"]
[7,null,10,10,100,0,0,"No"]
[8,null,10,10,100,0,0,"No"]
[9,null,10,10,100,0,0,"No"]
[10,null,10,10,100,0,0,"No"]
[11,null,10,10,100,0,0,"No"]
[12,null,10,10,100,0,0,"No"]
[13,null,10,10,100,0,0,"No"]
[14,null,10,10,100,0,0,"No"]
[15,null,10,10,100,0,0,"No"]
[16,null,10,10,100,0,0,"No"]
[17,null,10,10,100,0,0,"No"]
[18,null,10,10,100,0,0,"No"]
[19,null,10,10,100,0,0,"No"]
[20,null,10,10,100,0,0,"No"]
["Blank",null,10,10,100]
[]
["Detector efficiency",null,0.25]
["% Activity on swab",null,0.1]
[]
[]
[]
[]
["Contamination above 3 Bqcm-2 is deemed to be unacceptable and will require decontamination procedures to be implemented.  "]